RAM RADITION SAFETY PROGRAM AUDIT REPORT

I. INTRODUCTION

This form documents findings identified during a radiation safety program (RSP) audit covering Florida State University (FSU) activities involving radioactive material (RAM) for Calendar Year ____ by ________________________________. The audit evaluated the FSU Radiation Safety Program’s (RSP’s) content, implementation, and compliance with requirements specified in the referenced regulations and regulatory authorizations, with emphasis on the program’s effectiveness in keeping exposures as low as reasonably achievable (ALARA). Program efficiency and liability issues were also audit considerations. Findings, corrective actions/preventive actions (CAPAs), and recommendations are summarized.

FL RAM License No. 32-10, Category 3M(I), Type A Academic Broad Scope (BS); expires 8/31/25 last change: Amendment #___, issued _________

Note: The University’s Type A specific BS license authorizes possession and use of specified RAM in specified quantities (usually millicurie range), for any authorized purpose.

| II. AUDIT & INSPECTION HISTORY |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. FDOH BRC inspections: |  |  |  |  |  |  |  |  |  |
| B. Violations noted during last inspection |  |  |  |  |  | Yes | □ | No | □ |
| Description of violations: |  |  |  |  |  |  |  |  |  |
| C. Corrective Actions (CA) taken |  |  |  | N/A | □ | Yes | □ | No | □ |
| D. Violations noted during last inspection |  |  |  |  |  | Yes | □ | No | □ |
| E. Recommendations made by inspectors |  |  |  |  |  | Yes | □ | No | □ |
| III. RSP ORGANIZATION & SCOPE OF OPERATIONS |  |  |  |  |  |  |  |  |  |

A. RSP Organization

|  | FSU Department of EHS Radiation Safety Office |  |  |  | M. Carothers Hall (MCH), Suite 1200 Tallahassee, FL 32306-4481 | www.safety.fsu.edu (850) 644-6895 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Management: |  |  |  |  |  |  |  |  |  |
|  | ESH Director: |  |  |  |  |  |  |  |  |  |
|  | ESH Assoc. Dtr.: |  |  |  |  |  |  |  |  |  |
|  | RSO: |  |  |  |  |  |  |  |  |  |
|  | Former RSO: |  |  |  |  |  |  |  |  |  |
|  | ARSO: |  |  |  |  |  |  |  |  |  |
|  | RS Technician: |  |  |  |  |  |  |  |  |  |
|  | RSC Chair: |  |  |  |  |  |  |  |  |  |
|  | RSC members: |  |  |  |  |  |  |  |  |  |
|  | Fox Lab Dtr.: |  |  |  |  |  |  |  |  |  |
|  | RSS Support: |  |  |  |  |  |  |  |  |  |
| B. RAM Licenses |  |  |  |  |  |  |  |  |  |  |  |
| 1. FL general license (GL) current with FSU GL source inventory [64E-5.213(4)(a), .511(4), FAC] |  |  |  |  |  |  |  | Yes | □ | No | □ |
| 2. FL specific BS license #32-10 is current with FSU radiological operations [64E-5.213(4)(a), .511(4), FAC] |  |  |  |  |  |  |  | Yes | □ | No | □ |

III.	RSP ORGANIZATION & SCOPE OF OPERATIONS (contd.)

| C. RAM Use & Storage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. RAM Users |  |  |  |  | Note: License Condition (LC) 12.A and the BS regs – 64E-5.209(5)9(b), FAC - require FSU to maintain a list of RAM Authorized Users (AUs) approved by the RSC. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | No. of RAM Permits: |  |  |  | No. of RAM AUs: |  |  |  |  | No. of Rad Workers: |  |  |  |  |  |  |
| 2. RAM Use & Storage Locations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | No. of campus bldgs. w/ RAM: |  |  |  |  |  |  |  | No. of remote sites: |  |  |  | No. of field sites: |  |  |  |  |

| Main Campus - Biology Unit 1 (BIO) (no RAM) - Biomedical Research Facility (BRF) (no RAM) - Carraway Building (CAR) (no RAM) - Chemical Sciences Laboratories (CSL) - Collins Nuclear Research Building/Fox Lab (NRB) - Dittmer Lab of Chemistry (DLC) - Hazardous Waste Facility (HWF) - Kasha Laboratory Building (KLB) - Keen Building (KEN) (no RAM) - King Life Sciences Building (KIN) - Materials Research Building (BLD.3) (RF3) - Medical School Research Bldg. – College of Medicine (MSR) - M. Carothers Hall (MCH) | Main Campus - Psychology Dept. Bldg. (PDB) - Rogers Building (OSB) - Sandels Building (SAN) |
| --- | --- |
|  | Off Campus 1. High Magnetic Field Laboratory (Mag Lab) Innovation Park, 1800 E. Paul Dirac Drive Tallahassee, FL 32310-6046 No RAM: 2. FSU/Ringling Brothers Museum of Art 5401 Bay Shore Rd., Sarasota, FL 34243 3. FSU Coastal & Marine Laboratory (Marine Lab) 3618 US-98, St. Teresa, FL 32358 |

| 3. FSU address or physical locations unchanged; RAM facilities &/or storage area(s) unchanged since last audit LC 22, 64E-5.201(1), .213(4) |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4. Regulated RAM activities unchanged since the last audit, so current public dose limits compliance study remains valid LC 22, 64E-5.201(1), .213(4) |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| 5. If no to 3 or 4, study revised & license amended to approve changes & revised study LC 22, .213(4), .313(2) |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| IV. FACILITIES & EQUIPMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. Facilities Status |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Facilities accurately described in License Condition 10 (i.e., facility descriptions match current layout of facilities) LC 12 & 22, .213(4) |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| 2. Facilities are adequate for safe & compliant regulated RAM activities .208(2), .303 |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| 3. RAM Storage Capacity adequate for all authorized RAM .320 |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| 4. Local law enforcement & fire departments notified of all RAM storage locations [recommended] |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |  |
| B. Facilities Explosion/Fire Risks: Evaluated & addressed to minimize hazard [recommended] |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |
| C. Lab Postings: Below documents are posted in conspicuous location(s) to permit radiation workers to observe them on the way to/from work .901, .1302 |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  |  | No |  | □ |
| V. FACILITIES & EQUIPMENT (contd.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D. RAM/Radiation Warnings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. RAM storage areas: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Posted with “Caution/Danger – Radioactive Materials” signage .323(5) |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| - Posted with "Caution – Radiation Area" signage when radiation levels are > 5 mR/hr at 30 cm .323(1) |  |  |  |  |  |  |  | N/A | □ |  | Yes |  |  |  | □ |  | No |  | □ |  |
| 2. RAM containers/contaminated equipment: properly labeled: “Caution/Danger – Radioactive Materials”, “Radioactive”, etc. .322(3), .325(1), .1316(7) Exemptions: Containers with RAM quantities < what’s listed in FL BRC RAM Requiring Labeling, containers with RAM concentrations < specified in FL BRC ALIs, DACs, and Effluent Con., Table 3, & containers attended by an individual who takes necessary safety precautions |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 3. Additional info.: Provided on or near required signs/labels to make personnel aware of potential radiation exposures and to minimize exposures .322(3) |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 4. Lab entry doors: posted with RAM warning icon & text .322(3), RSM |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| E. Facilities & Equipment Security |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. RAM sources/devices locked while in storage & not under direct surveillance .320, .321 |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 2. RAM storage areas & keys controlled by authorized personnel .320 |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 3. Access to RAM use/storage areas restricted to AUs & individuals escorted & supervised by an AU 320, .321, .1307(1) |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| Description of extra security precautions: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| F. Facilities & Equipment Housekeeping/Maintenance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. RAM facilities, radiation-generating devices and radiation-related safety equipment are appropriate for current radiological activities .323(5) |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 2. RAM transport/storage containers maintained in acceptable physical condition, labels/markings are present & legible, replacement labels available LC 15, .1502 |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 3. RAM rad-safety, contamination control & emergency equipment personal protective equipment (PPE), leak test kits, decontamination & LSC supplies, signage, spill kits, spare RAM storage containers & portable shielding are appropriate for current radiation activities & available .303, .1302,.1318(1), .1319 |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| G. Radiation Survey Instruments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Sufficient calibrated (12-months) survey instruments are available to perform required area and contamination surveys .314(2), .809(1), .1318(3) |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| 2. Sufficient radiation check sources available for required function tests prior to use .303 |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | □ |  | No |  | □ |  |
| RS Office |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CSL |  |  |  |  |  | NRB Fox Lab |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| V. FACILITIES & EQUIPMENT (contd.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H. Radiation Monitoring Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Assigned, area badges & control badges are stored in locations isolated from radiation sources & protected from heat, light, moisture & chemicals 314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 2. Personnel Monitoring (PM) badges exchanged & promptly processed (within 14 days of end of period) .314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 3. Adequate precautions taken to prevent deceptive exposures to PM badges .314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. All badges accounted for (i.e., no lost or damaged badges) .314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| Description of circumstances involving lost or damaged PM badge(s): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. If no to E, RSO immediately notified & a record of worker’s estimated dose made, provided to badge vendor & a record kept on file .314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 6. PM badge reports undergo timely review (i.e., within 7 days) by RSO .314(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 7. RSO provides dose reports annually to monitored workers, & termination dose reports within 30 days of receipt of final dose report .903 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 8. Results of review of PM badge reports (describe any issues, & any corrective actions taken or planned: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. RSO investigates any worker doses considered to be excessive or unnecessary .303(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| Description of worker dose investigation(s): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Dosimetry Program Issues: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VI. PROCEDURES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. Current RSP Policies & Procedures properly address all .208(2), .303(1), RSP elements & are adequate 703(1), .1302 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
|  |  |  | RSO-related Policies & Procedures # 1) 4-OP-G-6 Radiation Safety https://policies.vpfa.fsu.edu/policies-and-procedures/safety-insurance/radiation-safety 2) Rad. Safety Committee Charter https://safety.fsu.edu/safety_manual/Radiation%20Control%20and%20Policy%20Committee.pdf 3) Radiation Safety Manual https://www.safety.fsu.edu/safety_manual/Radiation%20Safety.pdf |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. RSP Administrative Procedures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. RS Committee meetings held at required intervals; minutes kept on file RSM, .209(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 2. RS Committee reviews/approves annual; program audits, RAM proposals & AUs, & oversees the RSO/RSP LC 12.A, RSM, .209(2), .209(5)(b) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 3. Annual RSP audit reports on file addressing all licensed and registered radiological activities, which are reviewed & approved by the RSC RSM, .209(2) .303(3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. List of current RAM AUs and RAM use permits approved by RSC kept on file LC 12.A, .313 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 5. Public dose limits compliance study on file addresses current scope of activities .313 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| VI. PROCEDURES (contd.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. Operating & Emergency Procedures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. O&E procedures include instructions appropriate to the uses .1302 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| - ALARA measures - Locking/securing radiation sources - Personnel monitoring & use of PM equipment - Emergency procedures |  |  |  |  |  |  |  | - General guidelines for safe use - Records maintenance - RAM shipping/receiving |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Contamination control measures in place, including decon action levels .1316, .1318(2), .1319 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 3. Leak test procedures for sealed sources in place for semiannual testing; leak tests performed semiannually & records kept for 3 yrs. .312(1), .1303 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. RAM storage areas surveyed & results documented to verify that radiation levels are < 2 mrem/hr .314(1), .1319(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 5. Area surveys made to determine contamination in pertinent areas .1319(1) - At end of days of use or receipt of RAM in RAM use/storage areas - Weekly during weeks of use in RAM use/storage areas Frisks of personnel exiting radiologically controlled areas (no records if < actions levels) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 6. Radiation area/high rad areas: If surveys find rad. levels warrant posting or controlled access, areas are properly posted/barricaded to prevent access .312(1) |  |  |  |  |  |  |  |  |  | N/A |  |  |  | □ |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 7. Contamination smear surveys made at end of days of use in routine-use RAM use/storage areas not detected by survey instruments (i.e., weak beta-emitters) .1319(1)(e), (3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 8. Airborne radioactivity surveys made to test for airborne contamination in pertinent areas .1318(2) |  |  |  |  |  |  |  |  |  |  | N/A |  |  |  | □ |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 9. Survey/wipe records kept for 3 years .1319(3), (4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 10. RAM discharges to uncontrolled areas documented, limited .1318(2) |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  | □ |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 11. Bioassay program/procedures in place to evaluate internal doses .1320 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 12. RAM sealed source physical inventories/inspections conducted semiannually, with records kept for 3 years .1304 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 13. RAM unsealed source inventories tracked by the RSO to ensure compliance with quantity limits, with records kept for 3 years .208(2), .320., 321 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 14. GL & Exempt RAM source inventories tracked by the RSO (recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| D. RAM Ordering, Shipping, Receipt & Disposal Procedures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. RAM orders approved by the RSO to verify that the RAM is authorized LC 11, .213(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 2. RSO verifies that all RAM & x-ray machines are shipped/transferred to parties that are licensed/registered to receive them LC 11, .213(4), .511(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 3. Incoming & outgoing RAM packages processed only by personnel who are qualified hazmat employees .1502(2), 49 CFR 172.700-.704 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. All RAM shipments prepared per 49 CFR requirements (packaging, LC 15, .1501, .1502(2), marking, labels, shipping papers/ERI) 49 CFR Parts 172, 173 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 5. Incoming RAM packages surveyed & wiped ASAP & not > 3 hrs. after receipt if evidence of degradation of package integrity .327(2) & (3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 6. If contamination or elevated rad levels detected on incoming RAM package, RSO immediately notifies final delivery carrier & FDOH BRC .327(4) |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  | □ |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| VI. PROCEDURES (contd.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D. RAM Ordering, Shipping, Receipt & Disposal Procedures (continued) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. RAM shipping papers kept for 2 years beyond date of shipment 49 CFR 172.201(e) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 8. Rad. waste shipping papers kept for 3 yrs beyond shipment date 49 CFR 172.201(e) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 9. Radwaste disposal records kept indefinitely & demonstrate that waste was transferred to licensed recipients .103, .328(1), 49 CFR 172.201(e) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |
| E. Records, Reports & Notifications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. GL RAM: RSO reports any changes to the GL RAM source inventory to FDOH BRC .205., .206 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |
| 2. Incidents: RSO makes required notifications & submits required reports within specified times in the event of a rad incident 64E-5 Parts III, IX, XIII |  |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  |  | □ |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  | □ |  |  |  |  |  | No |  |  |  |  |  |  |  |  | □ |  |  |  |  |
| 3. Survey/Wipe Records: have all required info & retained for 3 years .1319(3), (4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. SL RAM Training Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a. Rad. safety training records for users of SL RAM document info. required by .1307 & records maintained indefinitely (recommended) .1307(3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| b. Rad. safety training records document .902(1) topics & practical training/testing (recom.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| c. Training records document annual refresher instruction on .902(1) topics, review of the last annual RSP report, plus a Q&A session (recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 5. DOT RAM-Hazmat Employee Training (HET) Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a. HET records maintained for all workers with job functions impacting 1502(2), Class 7 RAM transport safety for 90 days beyond worker termination 49 CFR 172.704(d) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| b. HET records document training in all topics specified in 49 CFR 172.702(a) & have all info. required by 172.704(d) 49 CFR 172.704(d) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| c. HET records show training completed within 90 days of employment or change in job function, & refresher training provided every 3 years 49 CFR 172.704(c) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| 6. RSP Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a. Leaking sealed source reports: FDOH BRC notified within 5 days of discovery of a sealed source contaminated > 0.005 uCi; report kept on file .312(1) |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  |  | □ |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| b. Public dose limits compliance studies: on file for all RAM activities, submitted to FDOH .313 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| c. Shipping papers: RAM copies (dated) kept for 2 yr, waste for 3 yr .1502(1), 49 CFR 172.201(e) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |
| d. Inventory records: document all required info., kept for 3 years .1304 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |
| e. RAM receipt/transfer/disposal records kept indefinitely .901(1)(d) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |
| f. Survey meter calibration records kept for 3 years .336(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |
| g. Current FL RAM licenses (SL #32-10 & GL) & all documents incorporated by reference maintained on file .901(1)(b) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| h. FDOH BRC enforcement correspondence kept indefinitely .901(1)(d) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |
| VII. PERSONNEL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. RSP Administration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Rad. Safety Committee has required membership maintains by the ESH Dept.: qualified RSO, mgmt. rep., PIs/members experienced with rad sources used at FSU .209(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  | □ |  |  |  |  |  |
| VII. PERSONNEL (contd.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. RSP Administration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Rad. Safety Office staffing adequate to ensure compliance & safe operations .208, .209(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  | □ |  |  |  |  |  |
| 3. Rad. workers are empowered, communicate with RSO & mgmt. on rad issues & question status quo (i.e., strong safety culture) (recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  | □ |  |  |  |  |  |
| B. Training Program |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Rad. safety basics training adequate & provided to all radiation workers .902(1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  | □ |  |  |  |  |
| 2. Function-specific rad. safety training, including practical training & testing, provided to all workers as appropriate, based on job functions: - Sealed RAM source user .208(1), .209(2), 1307 - Unsealed RAM source user .208(1), .209(2), .1307 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 3. RSO training adequate & provided to RSO & ARSO .208(1), .209(2), .1305(2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 4. Hazmat employee training (USDOT/IATA RAM/hazmat shipping training): .1501, workers with hazmat shipping duties (including RSO/ARSO) complete .1502(2), initial HET within 90 days & refresher HET every 3 years 49 CFR Part 172, Subpart H |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 5. RS refresher training adequate & provided to all workers (recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| 6. RSO refresher training completed every 3-5 years (recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  | □ |  |  |  |  |
| VIII. AUDIT FINDINGS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Facilities Equipment Procedures |
| --- |
| Personnel |  |

| Amy Allen, RSO |  |  |
| --- | --- | --- |
| (Auditor Name & Title) |  | (Signature) |
| Amy Allen, RSO |  |  |
| (RSO Name & Title) |  | (Signature) |

| 9. Radwaste disposal records kept & demonstrate proper disposal .103, .328(1), 49 CFR 172.201(e) | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | □ | No | □ |
|  |  | Yes | □ | No | □ |
| VI. PROCEDURES (contd.) |  |  |  |
| E. Records, Reports & Notifications |  |  |  |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| 1. GL RAM: RSO reports any changes to the GL RAM source inventory to FDOH BRC .205., .206 | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| 2. Incidents: RSO makes required notifications & submits required reports within specified times in the event of a rad incident 64E-5 Parts III, IX, XIII |  | Yes | □ | No | □ | N/A | □ |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 3. Survey/Wipe Records: have all required info & retained for 3 years .1319(3), (4) | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |
| 4. SL RAM Training Records |  |  |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| a. Rad. safety training records for users of SL RAM document info. required by .1307 & records maintained indefinitely (recommended) .1307(3) |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- |
| b. Rad. safety training records document .902(1) topics & practical training/testing (recom.) |  | Yes | □ | No | □ |
| c. Training records document annual refresher instruction on .902(1) topics, review of the last annual RSP report, plus a Q&A session (recommended) |  | Yes | □ | No | □ |
| 5. DOT RAM-Hazmat Employee Training (HET) Records |  |  |  |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| a. HET records maintained for all workers with job functions impacting 1502(2), Class 7 RAM transport safety for 90 days beyond worker termination 49 CFR 172.704(d) |  |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- | --- |
| b. HET records document training in all topics specified in 49 CFR 172.702(a) & have all info. required by 172.704(d) 49 CFR 172.704(d) |  |  | Yes | □ | No | □ |
| c. HET records show training completed within 90 days of employment or change in job function, & refresher training provided every 3 years 49 CFR 172.704(c) |  |  | Yes | □ | No | □ |
| 6. RSP Records |  |  |  |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |
|  | Yes | □ | No | □ |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| a. Leaking sealed source reports: FDOH BRC notified within 5 days of discovery of a sealed source contaminated > 0.005 uCi; report kept on file .312(1) |  | N/A |  |  | Yes |  | □ | No | □ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| b. Public dose limits compliance studies: on file for all RAM activities, submitted to FDOH .313 |  |  |  |  | Yes |  |  | □ | No | □ |
| c. Shipping papers: RAM copies (dated) kept for 2 yr, waste for 3 yr .1502(1), 49 CFR 172.201(e) |  |  |  |  | Yes |  |  | □ | No | □ |
| d. Inventory records: document all required info., kept for 3 years .1304 |  |  |  |  | Yes |  |  | □ | No | □ |
| e. RAM receipt/transfer/disposal records kept indefinitely .901(1)(d) |  |  |  |  | Yes |  |  | □ | No | □ |
| f. Survey meter calibration records: kept for 3 yr .336(1) |  |  |  |  | Yes |  |  | □ | No | □ |
| g. Current FL RAM licenses (SL #32-10 & GL) & all documents incorporated by reference maintained on file .901(1)(b) |  |  |  |  |  |  | Yes | □ | No | □ |
| h. FDOH BRC enforcement correspondence kept indefinitely .901(1)(d) |  |  |  |  |  |  | Yes | □ | No | □ |
| VII. PERSONNEL |  |  |  |  |  |  |  |
| A. RSP Administration |  |  |  |  |  |  |  |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| 1. Rad. Safety Committee has required membership maintains by the ESH Dept.: qualified RSO, mgmt. rep., PIs/members experienced with rad sources used at FSU .209(2) |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| 2. Rad. Safety Office staffing adequate to ensure compliance & safe operations .208, .209(2) |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- |

|  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- |

| 3. Rad. workers are empowered, communicate with RSO & mgmt. on rad issues & question status quo (i.e., strong safety culture) (recommended) |  | Yes | □ | No | □ |
| --- | --- | --- | --- | --- | --- |
| VII. PERSONNEL (contd.) |  |  |  |
| B. Training Program |  |  |  |

| 1. Rad. safety basics training adequate & provided to all radiation workers .902(1) |  |  | Yes |  | □ |  | No | □ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Function-specific rad. safety training, including practical training & testing, provided to all workers as appropriate, based on job functions: - Sealed RAM source user .208(1), .209(2), 1307 - Unsealed RAM source user .208(1), .209(2), .1307 |  |  |  | Yes |  | □ | No | □ |
| 3. RSO training adequate & provided to RSO & ARSO .208(1), .209(2), .1305(2) |  |  |  | Yes |  | □ | No | □ |
| 4. Hazmat employee training (USDOT/IATA RAM/hazmat shipping training): .1501, workers with hazmat shipping duties (including RSO/ARSO) complete .1502(2), initial HET within 90 days & refresher HET every 3 years 49 CFR Part 172, Subpart H |  |  |  | Yes |  | □ | No | □ |
|  | - Current qualified hazmat personnel: A. Allen, new RSO, R. Gaytan, former interim RSO, &. W. Cofer (RCI). |  |  |  |  |  |
| 5. RS refresher training adequate & provided to all workers (recommended) |  |  |  | Yes |  | □ | No | □ |
| 6. RSO refresher training completed every 3-5 years (recommended) |  |  |  | Yes |  | □ | No | □ |
| VIII. AUDIT FINDINGS |  |  |  |  |  |  |

Facilities Equipment Procedures

| (Auditor Name & Title) |  | (Signature) |
| --- | --- | --- |
| (RSO Name & Title) |  | (Signature) |